## Slide 1: Lab 6 Light Intensity & Distance
Daksh Khandelwal

## Slide 2: Objective and Experiment
Determine how detected light intensity from a “point” source varies with distance, and check whether the inverse-square law holds.
Principle: Light from a point source spreads over a sphere of area , so intensity falls as .
Setup: 1.2 m optical track, 12 V / 10 W G4 halogen source, PASCO light sensor (resolution ).
Method: Record steady-state intensity at ; record background with light off.
Analysis: Subtract background, fit , and verify that is constant across distance.
Expected: ; the recovered “power” should be consistent within uncertainty.

## Slide 3: Method
Run 1 (light ON): hold sensor at each distance until plateau, record ~100–200 samples.
Run 2 (light OFF): record ~1670 background samples.
For each plateau: compute mean and standard deviation
Subtract the background mean from each plateau mean
Combine type A (statistical) + type B (sensor scale, rectangular PDF) in quadrature:
Fit recover
Check , then cross-check that is constant across distance.

## Slide 4: Data and Measurements
Plateau means (Run 1) and standard deviations at each distance, with background subtracted (mean of Run 2 = 0.0969%).
(cm) |  | (%) | std(%) | (%)
0 | 194 | 96.2586 | 0.00918 | 96.1616
10 | 117 | 44.7323 | 0.02925 | 44.6354
20 | 155 | 16.1137 | 0.01200 | 16.0167
30 | 206 | 8.2426 | 0.00304 | 8.1457
40 | 198 | 5.0189 | 0.00568 | 4.9220
50 | 201 | 3.3788 | 0.02726 | 3.2819
0 | 194 | 96.2586 | 0.00918 | 96.1616
10 | 117 | 44.7323 | 0.02925 | 44.6354
20 | 155 | 16.1137 | 0.01200 | 16.0167
30 | 206 | 8.2426 | 0.00304 | 8.1457
40 | 198 | 5.0189 | 0.00568 | 4.9220
50 | 201 | 3.3788 | 0.02726 | 3.2819
Background (Run 2): , (Gaussian).
Distance uncertainty: (rectangular PDF; ruler resolution + endpoint).
Sensor resolution : (rectangular PDF) — negligible vs plateau std.

## Slide 5: Per-Distance Distributions
Each plateau yields one mean and one standard deviation.
Histograms peak around the mean and span a finite range.
Approximately Gaussian shape — normal PDF justified for
Plateau std is the dominant (type A) contribution to
Background and sensor resolution add negligibly in quadrature.
Standard deviations: across the six distances.

## Slide 6: Inverse-Square Fit
Fit form
offset between marked and the actual filament inside the bulb.
excluded (sensor essentially at source — point-source approx fails).
Reduced :
Best-fit results:

## Slide 7: Why include ?
True distance form the source to sensor is , where is the offset to be determined
It's the value that minimizes the weighted sum of squared residuals i.e., the fit that best balances all five data points () given their individual uncertainties.
The uncertainty comes from the covariance matrix that the fitter computes at the minimum quantifying the precision of the recovered parameter.
Evidence from data
Fitting gave overestimating intensity at small distances and underestimating at large distances
Adding as a free parameter dropped
Found using scipy.optimize.curve_fit() with and minimizing .
Varies both and simultaneously until it finds the smallest

## Slide 8: Is the Inferred Power Constant?
Per-point power
Compute for each distance.
Propagate and in quadrature:
All five agree to
behavior is confirmed.

## Slide 9: Linearization
If holds, plotting against should be linear through the origin with slope

## Slide 10: Comparison and Significance
t-test: cross-check vs fit
(mean of 5 distances)
(least-squares fit)
fully consistent (Gaussian PDF, ).
Recall: probability of difference; ;
Sanity check vs source rating
Source: G4 halogen, 12 V, 10 W (electrical input).
Halogen luminous efficacy .
Sensor reads % of full scale (not lux) — direct numeric comparison needs the % → lux calibration.

## Slide 11: Conclusions
Gaussian PDF, 68% confidence level
Key findings
Inverse-square law confirmed: , , residual pulls within
Recovered source-position offset (filament behind front of bulb housing).
is constant across to
Order of magnitude consistent with manufacturer rating (12 V / 10 W halogen ≈ 100 lm).
Limitations: sensor in % units (no lux calibration); single trial; finite source size breaks point-source approximation near .