## Slide 1: Lab 5 Measuring a refractive index
By Daksh Khandelwal

## Slide 2: Objective and Experiment
Determine the refractive index of the solid polyethylene dielectric inside RG-58 coaxial cable and characterize how it varies with signal frequency by measuring the propagation delay of pulses through cables of known lengths.
Principle: ; measure from pulse travel time through a known cable length
Setup: waveform generator sends a pulse into RG-58; oscilloscope captures sent and reflected/received signals
Equipment: Tektronix TBS1000B scope, B&K 4010A/4011A generator, four coax cables of varying length, 3 BNC tees, 2 50-Ω terminators
Method: compare delays across different cable lengths to extract , then sweep frequency to test for dispersion
Expected: for polyethylene (velocity factor ≈ 0.66)

## Slide 3: Physics and Method
Physics
Phase velocity in a dielectric: ; in vacuum
Refractive index:
Two-cable method
Send a pulse through a short and a long cable; extra time covers the extra length
Working equation:
Uncertainty propagation:

## Slide 4: Data and Measurements
Cable lengths: , Oscilloscope: Cursor uncertainty
Frequency |  | n | 95% CI
10 Hz | 22 | 1.552 | ± 0.139
1 kHz | 21 | 1.481 | ± 0.139
100 kHz | 22 | 1.552 | ± 0.139
1 MHz | 23 | 1.622 | ± 0.139
10 MHz | 25 | 1.763 | ± 0.139
Frequency |  | n | 95% CI
10 Hz | 22 | 1.552 | ± 0.139
1 kHz | 21 | 1.481 | ± 0.139
100 kHz | 22 | 1.552 | ± 0.139
1 MHz | 23 | 1.622 | ± 0.139
10 MHz | 25 | 1.763 | ± 0.139
Each is dominated by the ns read uncertainty (>99% of variance). The contribution is negligible at this .

## Slide 5: Results: Per-Frequency Measurements
Each measurement modeled as : a gaussian centered on with width
Shaded band is the interval — 95% probability the true n lies inside it
All five are nearly identical, so the curves have the same width and only shift horizontally
Only 4 curves visible: 10 hz and 100 khz both have , so their pdfs coincide

## Slide 6: Results: Interpretation
Heavy overlap shows measurements are statistically consistent with each other
Dashed line at n = 1.5 (polyethylene) lies inside the 95% band for 10 Hz, 1 kHz, 100 kHz, and 1 MHz
10 MHz is the outlier PE line is away, outside the 95% band
Centers drift right with frequency (1.55 → 1.76); at low frequencies the drift is inside the band, but at 10 MHz it is not
Curve width is set by the ±1 ns cursor uncertainty, not by the dielectric itself
Narrower PDFs would require a longer cable or finer cursor placement

## Slide 7: Results: n vs frequency
N vs. Frequency
Flat from 10 hz to 100 khz ()
Rises at 1 mhz (1.62) and 10 mhz (1.76)
Drift is at the edge of the ±1 ns resolution floor, marginal significance

## Slide 8: Weighted Mean
A weighted mean combines several measurements of the same quantity into one best estimate, giving more influence to points with smaller uncertainty. Each point is weighted by , so a precise measurement (small ) counts more than a noisy one. When every point has the same , it reduces to the ordinary average.
Formula:
Applied to this experiment:
Five per-frequency measurements: , each with
Statistical (independent part) shrinks by
Systematic (shared part) does not shrink: 0.005
Result:

## Slide 9
Key findings
Measured refractive index of RG-58 polyethylene dielectric:
Majority of per-frequency 95% CI brackets the literature value ; the weighted mean sits 2.9σ high, consistent with a small systematic bias (e.G. Cursor placement, connector delays not subtracted)
Implied velocity factor: (RG-58 spec ≈ 0.66)
Evidence for frequency dispersion: the 10 MHz point (n = 1.76 ± 0.07) sits 3.7σ above the polyethylene literature value, outside its own 95% CI — it is not a noise fluctuation
Physically plausible: at 10 MHz the skin depth in copper is tens of , comparable to the inner conductor radius, and dielectric loss in PE begins to rise. Both cause real pulse-velocity shifts in RG-58 at high f
Caveat: a single high-f point cannot prove dispersion; more measurements between 1 and 50 MHz are needed to confirm the trend
Redoing the Experiment
Shrink — finer cursor placement, averaging many acquisitions, or a longer cable so
uncertainty drives >99% of — reducing it is the single biggest lever
Conclusions